|  | Control Valve Inspection Test Report | ITR 02 |
| --- | --- | --- |

| TAG NO. |  | DATASHEET NO. |  |
| --- | --- | --- | --- |
| DUTY NAME |  | MODEL NO. |  |
| DESCRIPTION |  | SERIAL NO. |  |
| PO NO. |  | MANUFACTURER |  |

| CHECK NO. | ACTION |
| --- | --- |
| 1 | Inspection against documentation |
|  |  |  | Checked O.K |
| 1.1 | Correct to Data Sheet No.: |  |  |
| 1.2 | Correct to P&ID No.: |  |  |
| 1.3 | Correct to Location Drg No. |  |  |
| 2 | Record the Following Information |
| 2.1 | Type of Valve: |  | Type of Actuator: |  |
| 2.2 | Valve Signal Range: |  | Stroke Length: |  |
| 2.3 | Air Failure Action: |  | Shut Off Class |  |
| 2.4 | Signal Failure Action |  | Control Action |  |
| 3 | Calibration |
| 3.1 | Bench Set |  |
| 3.2 | Signal Range |  |
| 3.3 | Signal | Stroke | Hysteresis |
|  | kPa | mA | % | % |
|  | 20 | 4 |  |  |
|  | 40 | 8 |  |  |
|  | 60 | 12 |  |  |
|  | 80 | 16 |  |  |
|  | 100 | 20 |  |  |
|  | 80 | 16 |  |  |
|  | 60 | 12 |  |  |
|  | 40 | 8 |  |  |
|  | 20 | 4 |  |  |
| 4 | Valve Limit Switches Set (If Installed) |
|  | Functional |
| 4.1 | Open | Yes | No | N/A |
| 4.2 | Closed | Yes | No | N/A |
| 5 | Solenoid Valve (If Installed) |
|  | Functional |
| 5.1 | Yes | No |

|  | Control Valve Inspection Test Report | ITR 02 |
| --- | --- | --- |

| 6 | Valve Actuation Speed |
| --- | --- |
| 6.1 | Time to close required (from datasheet) | sec | Actual time to close as left | sec |
| 6.2 | Time to open required (from datasheet) | sec | Actual time to open as left | sec |
| 7 | Test Equipment Calibration |
|  | Test Equipment | Serial No. | NATA Traceability |
| 7.1 |  |  |  |
| 7.2 |  |  |  |
| 7.3 |  |  |  |
| 8 | Installation |
|  |  | Checked O.K. |
| 8.1 | Correct to Specification |  |
| 8.2 | Supply & Signal Connections Correct |  |
| 8.3 | Cable, Glanding & Earthing Correct |  |
| 8.4 | Equipment correctly Supported, Tagged & Greased |  |
| 8.5 | Correct Hazardous Area Rating |  |
| 8.6 | Correct Process Flow Orientation |  |
| 8.7 | Glands Greased and Taped |  |
| Remarks |
| PUNCH LIST CATEGORY |
| A |  | B |  | C |  |
|  | COMPANY | NAME | SIGNATURE | DATE |
| COMPLETED BY |  |  |  |  |
| SUPERVISOR |  |  |  |  |
| APPROVED BY |  |  |  |  |