|  | Instrument Cable Inspection Test Report | ITR 03 |
| --- | --- | --- |

| CABLE NUMBER |  | TEST EQUIPMENT |  |
| --- | --- | --- | --- |
| CABLE TYPE |  | SERIAL NUMBER |  |
| CABLE SCHEDULE |  | NATA TRACEABILITY |  |
| CABLE CERTIFICATION No. |  |  |  |

## COMMENTS

- Record only the lowest value

- Use 500 V DC Insulation Resistance test Equipment

- Test Duration 1 Minute

- Test with Equipment disconnected

| Cable Checks | Checked O.K. |
| --- | --- |
| Cable Numbered Correctly |  |
| Cable Size and Type Correct |  |
| Cable Clamps / Ties Size / Spacings Correct |  |
| Cable Spacing / Formation correct |  |
| Cable Installation Completed Satisfactorily |  |
| Cable Gland Size Correct and Tightened Satisfactorily |  |
| Cable Ends Made Up and Terminated Satisfactorily |  |
| Cable Lugs Crimped and Bolts Torqued / Tightened Okay |  |
| Continuity of Earth Conductor / Screen / Sheath Okay |  |
| Cable Armouring / Sheath Earthed at Both Ends |  |
| Point to Point Continuity Check Okay |  |
| Insulation Resistance Conductors to Earth M ohms |  |
| Insulation Resistance Conductor to Conductor M ohms |  |
| Measure and Record Core Continuity ohms |  |
| Measure and Record Screen to Screen Insulation ohms |  |
| Remarks |
| PUNCH LIST CATEGORY |
| A |  | B |  | C |  |
|  | COMPANY | NAME | SIGNATURE | DATE |
| COMPLETED BY |  |  |  |  |
| SUPERVISOR |  |  |  |  |
| APPROVED BY |  |  |  |  |