|  | Junction / Marshalling Box Inspection Test Report | ITR 04 |
| --- | --- | --- |

| EQUIPMENT NUMBER |  | DRAWING NUMBER |  |
| --- | --- | --- | --- |
| MANUFACTURER |  | MODEL |  |
| IP RATING |  | SERIAL NUMBER |  |
| LOCATION DRAWING |  | DESCRIPTION |  |

## COMMENTS

- Tick acceptable checks

- If not applicable mark N/A

|  | Equipment Checks |  |
| --- | --- | --- |
|  |  | Checked O.K. |
| 1 | Equipment alignment / orientation correct |  |
| 2 | Equipment level / plumb |  |
| 3 | Anchor bolts complete and tight |  |
| 4 | Support brackets size and type correct / installation satisfactory |  |
| 5 | Equipment labelling correct |  |
| 6 | Equipment manufactured as per drawings and data sheets |  |
| 7 | No unauthorised modifications |  |
| 8 | Earthing connections satisfactory |  |
| 9 | Ingress Protection (IP) has been maintained |  |
| 10 | Equipment clean and free of debris |  |
| 11 | All gaskets and seals intact |  |
| 12 | All entries sealed correctly |  |
| 13 | Terminations satisfactory |  |
| 14 | Different voltage terminals identified and separated |  |
| 15 | Terminal rails identified |  |
| 16 | Warning labels and protection cover fitted to 240V terminals |  |
| 17 | Slotted trunking for wiring adequately sized |  |
| 18 | Equipotential bonding satisfactory |  |
| 19 | Cable markers fitted to all cables |  |
| 20 | Instrument screen bars isolated from earth |  |
| Remarks |
| PUNCH LIST CATEGORY |
| A |  | B |  | C |  |
|  | COMPANY | NAME | SIGNATURE | DATE |
| COMPLETED BY |  |  |  |  |
| SUPERVISOR |  |  |  |  |
| APPROVED BY |  |  |  |  |