|  | Instrument Tubing Inspection Test Report | ITR 05 |
| --- | --- | --- |

| EQUIPMENT TAG NO: |
| --- |
| 1 | General Data |
|  | Application: | Supply Air | Impulse Tubing | Signal / Transmission |
|  |  | Analyser Sample | Other: |
|  | Description: | Size | Wall Thickness |
|  |  | Material |

## COMMENTS

- Tick acceptable checks

- If not applicable mark N/A

| 2 | Checklist | Checked O.K. |
| --- | --- | --- |
|  | Size correct |  |
|  | Materials and fittings correct |  |
|  | Supports are adequate |  |
|  | Tape / sealant applied to threaded connections |  |
|  | Compression fittings complete / tight / accessible |  |
|  | Tubing neat and uniform / Slope correct |  |
|  | Installation is correct in accordance with documentation |  |
|  | Isolation valves correct |  |
|  | Manifolds, valves etc are accessible for operation / maintenance |  |
|  | Locations of vents / drains satisfactory |  |
|  | Bug screens fitted to operational ports |  |
|  | Tubing clearance for tubing insulation satisfactory |  |
|  | Complete installation and overall appearance satisfactory |  |
|  | Tubing pacified where required |  |
| 3 | Pressure Test |
|  | Test Equipment |  |
|  | Test Medium |  | Test Duration |  |
|  | Test Pressure |  | Blown Clear after test |  |
|  | Snoop test completed |  |  |  |
| HOOK UP NO. | TO | FROM | TUBE SIZE | ROUTE LENGTH | PASS TEST | PASS RE-TEST |
|  |  |  |  |  | YES | NO | YES | NO |
| Remarks |
| PUNCH LIST CATEGORY |
| A |  | B |  | C |  |
|  | COMPANY | NAME | SIGNATURE | DATE |
| COMPLETED BY |  |  |  |  |
| SUPERVISOR |  |  |  |  |
| APPROVED BY |  |  |  |  |