|  | Position Switch Inspection Test Report | ITR 06 |
| --- | --- | --- |

| TAG NO. |  | DATASHEET NO. |  |
| --- | --- | --- | --- |
| DUTY NAME |  | MODEL NO. |  |
|  |  | SERIAL NO. |  |
| DESCRIPTION |  | MANUFACTURER |  |
| PO NO. |  | VENDOR NAME |  |
| CHECK NO. | ACTION |
| 1 | Inspection |  |  |  | CHECKED O.K. |
| 1.1 | Correct to Data Sheet No.: * |  |  |  |  |
| 1.2 | Correct to P&ID No.: * |  |  |  |  |
| 1.3 | Correct to Location Drg No.: * |  |  |  |  |
| 2 | Check/Record |  |  |  |  |
| 2.1 | Record Switch De-energised State: |  |  |  |  |
|  | Switch Type | LOW | NO | NC |  |
|  |  | HIGH | NO | NC |  |
|  |  | CLOSED | NO | NC |  |
|  |  | OPEN | NO | NC |  |
| 2.2 | Record Switch Energised State: |  |  |  |  |
|  | Switch Type | LOW | NO | NC |  |
|  |  | HIGH | NO | NC |  |
|  |  | CLOSED | NO | NC |  |
|  |  | OPEN | NO | NC |  |
| 2.3 | Switches Operate Correctly: | YES | NO |  |  |
| 3 | Installation |
|  |  | CHECKED O.K. |
| 3.1 | Correct to Specification |  |
| 3.2 | Suitable for Hazardous Area Zone |  |
| 3.3 | Cable, Glanding & Earthing Correct |  |
| 3.4 | Equipment Correctly Supported, Tagged and Greased |  |
| 3.5 | Glands Taped and Greased |  |
| 3.6 | Enclosure Correctly Sealed |  |
| Remarks |
| PUNCH LIST CATEGORY |
| A |  | B |  | C |  |
|  | COMPANY | NAME | SIGNATURE | DATE |
| COMPLETED BY |  |  |  |  |
| SUPERVISOR |  |  |  |  |
| APPROVED BY |  |  |  |  |