|  | Cold Loop Check Inspection Test Report | ITR 07 |
| --- | --- | --- |

| TAG NO. |  | P&ID |  |
| --- | --- | --- | --- |
| TERMINATION DRG NO’s |  | HOOK-UP DIAGRAM |  |
|  |  | LOOP DRG NO |  |
| CHECK NO. | ACTION |  |  | CHECKED BY | DATE |
| 1 | List Loop Components |  |  |  |  |
| 1.1 | Item | Tag Number | Type | Status Index | Check Complete |  |  |
|  | 1 |  |  |  |  |  |  |
|  | 2 |  |  |  |  |  |  |
|  | 3 |  |  |  |  |  |  |
|  | 4 |  |  |  |  |  |  |
| 1.2 | List Multicores Used in Loop: |  |  |  |  |
|  | Item | Tag Number | Type | Status Index | Check Complete |  |  |
|  | 1 |  |  |  |  |  |  |
|  | 2 |  |  |  |  |  |  |
|  | 3 |  |  |  |  |  |  |
| 1.3 | Impulse & Signal Lines ITR Complete YES/NO |  |  |  |  |
| 1.4 | Cable ITR’S Complete YES/NO |  |  |  |  |
| 2 | Checkout |  |  |  |  |
| 2.1 | Ensure All Power is Disconnected &/Or De-Energised (Lift Links) |  |  |  |  |
| 2.2 | Point to Point Check Complete to Termination Drawing No. |  |  |  |  |
| 3 | Inspection |  |  |  |  |
| 3.1 | All Loop Components Installed Satisfactory |  |  |  |  |
| 3.2 | All Cable Terminations Completed |  |  |
| 4. | Completion |  |  |
| 4.1 | Confirm all Instrument Tags are Fitted |  |  |
| 4.2 | Clearly Identify Loop Check Demarcation on Termination Drawing |  |  |
| 4.3 | Redline Mark-up Termination/Loop Drawing Required | YES | NO |  |  |
| 4.4 | Submit Termination/Loop Drawing, Signed & Stamped As Built with this ITR. |  |  |
| 5 | Ensure Loop & Links are left Open |  |  |
| PUNCH LIST CATEGORY |
| A |  | B |  | C |  |
|  | COMPANY | NAME | SIGNATURE | DATE |
| COMPLETED BY |  |  |  |  |
| SUPERVISOR |  |  |  |  |
| APPROVED BY |  |  |  |  |