|  | Powered (Hot) Loop Check Inspection Test Report | ITR 08 |
| --- | --- | --- |

| TAG NO. |  | P&ID |  |
| --- | --- | --- | --- |
| LOOP SERVICE |  | HOOK-UP DIAGRAM |  |
| TERMINATION DIAGRAM |  | LOOP DWG NO. |  |
| CHECK NO. | ACTION | CHECKED O.K. |
| 1 | Documentation Review |  |
| 1.1 | Review & Accept ITRs For This loop |  |
| 1.2 | Review & Accept As Built Diagrams For This Loop |  |
| 1.3 | Review & Accept Test Certs For All Loop Components |  |
| 2 | Preparation |  |
| Note: Ensure Communications with Operations Prior to System Energisation. Ensure Process Isolations are in Place and Permits have been Signed and Authorised. |
| 2.1 | Establish Instrument Supplies |  |
| 2.2 | Establish Air Supplies |  |
| 3 | Loop Information |  |
| 3.1 | Primary Device Type |  |
| 3.2 | Primary Device Range |  |
| 3.3 | Alarm Set Points In Loop |  |
| 3.4 | Trip / Shutdown Set Points in Loop |  |
| 4 | Loop Test |  |
| 4.1 | Perform Functional Loop Test |  |
| 4.2 | Describe Test Method & Results in Section Below. |  |
| 4.3 | List Test Equipment Used and Serial Number in Section Below |  |
| 5 | Completion |  |
| 5.1 | Attach Any As Built Changes to Previous Submitted Drawings |  |
| 5.2 | Clearly Identify with Labels All Loop Components are Energised |  |
| TEST METHOD AND RESULTS: |
| 4.3 | Test Equipment Calibration |
|  | Test Equipment | Serial No. | NATA Traceability |
| Remarks |
| PUNCH LIST CATEGORY |
| A |  | B |  | C |  |
|  | COMPANY | NAME | SIGNATURE | DATE |
| COMPLETED BY |  |  |  |  |
| SUPERVISOR |  |  |  |  |
| APPROVED BY |  |  |  |  |