|  | Pressure Safety Valve Inspection Test Report | ITR 12 |
| --- | --- | --- |

| TAG NO. |  | DATASHEET NO. |  |
| --- | --- | --- | --- |
| DUTY NAME |  | MANUFACTURER |  |
| DESCRIPTION |  | MODEL NO. |  |
| PO NO. |  | SERIAL NO. |  |
| CHECK NO. |  | VENDOR |  |
| 1 | ACTION Inspection against documentation | Checked O.K |
| 1.1 | Correct to Data Sheet No.: |  |  |
| 1.2 | Correct to P&ID No.: |  |  |
| 1.3 | Correct to Location Drg No.: |  |  |
| 2 | Record the following information |
| 2.1 | Relieving Pressure (kPa): |  |
| 2.2 | Reseating Pressure (kPa): |  |
| 2.3 | Leakage Rate (ANSI B147/API 527) |  |
| 2.4 | Date Valve Tested / Set / Calibrated |  |
| 2.5 | Type of Service: |  |
| 2.6 | Working Pressure Range: |  |
| 3 | Installation | Checked O.K |
| 3.1 | Correct to Specification |  |
| 3.2 | Process Connections Correct |  |
| 3.3 | Calibration Seal intact. List seal identification: |  |
| 3.4 | Equipment Correctly Supported, Tagged & Greased |  |
| 3.5 | Travel/Shipping Stops removed |  |
| 3.6 | Lifting lever in attached and in correct position |  |
| 3.7 | Screwed cap in place on setting adjustment |  |
| Remarks |
| PUNCH LIST CATEGORY |
| A |  | B |  | C |  |
|  | COMPANY | NAME | SIGNATURE | DATE |
| COMPLETED BY |  |  |  |  |
| SUPERVISOR |  |  |  |  |
| APPROVED BY |  |  |  |  |