|  | Temperature Transmitter Inspection Test Report | ITR 13 |
| --- | --- | --- |

| TAG NO. |  | DATASHEET NO. |  |
| --- | --- | --- | --- |
| DUTY NAME |  | MANUFACTURER |  |
| DESCRIPTION |  | MODEL NO. |  |
| PO NO. |  | SERIAL NO. |  |
| CHECK NO. |  | VENDOR |  |
| 1 | ACTION Inspection (Record No,s) | CHECKED O.K. |
| 1.1 | Correct to Data Sheet No.: |  |  |
| 1.2 | Correct to P&ID No.: |  |  |
| 1.3 | Correct to Location Dwg No.: |  |  |
| 2 | ACTION Record the Following Information: | CHECKED O.K. |
| 2.1 | Instrument Range: |  |
| 2.2 | Tx Fail Mode: |  |
| 2.3 | Element Type: |  |
| 2.4 | Thermowell Process Connection Type: |  |
| 2.5 | Insertion Length: |  |
| 3 | CALIBRATION Record the Following Information: |
| 3.1 | Test Method |  |
| 3.2 | Input | Output | Error |
| % | Value | % | Value | % |
| 0 |  |  |  |  |
| 25 |  |  |  |  |
| 50 |  |  |  |  |
| 75 |  |  |  |  |
| 100 |  |  |  |  |
| 75 |  |  |  |  |
| 50 |  |  |  |  |
| 25 |  |  |  |  |
| 0 |  |  |  |  |
| 3.3 | Test Equipment Calibration |
|  | Test Equipment | Serial No. | NATA Traceability |
| Remarks |
| PUNCH LIST CATEGORY |
| A |  | B |  | C |  |
|  | COMPANY | NAME | SIGNATURE | DATE |
| COMPLETED BY |  |  |  |  |
| SUPERVISOR |  |  |  |  |
| APPROVED BY |  |  |  |  |