| TAG NO. |  | DATASHEET NO. |  |
| --- | --- | --- | --- |
| DUTY NAME |  | MANUFACTURER |  |
| DESCRIPTION |  | MODEL NO. |  |
| PO NO. |  | SERIAL NO. |  |
|  |  | VENDOR |  |

| CHECK NO. | ACTION |  | CHECKED O.K. |
| --- | --- | --- | --- |
| 1 | Inspection (Record No,s) |
| 1.1 | Correct to Data Sheet No.: |  |  |
| 1.2 | Correct to P&ID No.: |  |  |
| 1.3 | Correct to Location Dwg No.: |  |  |

| CHECK NO. | ACTION | CHECKED O.K. |
| --- | --- | --- |
| 2 | Record the Following Information: |
| 2.1 | Instrument Range: |  |
| 2.2 | Calibrated Range: |  |
| 2.3 | Instrument Supply: |  |
| 2.4 | Engineering Units: |  |
| 2.5 | Output dampening: |  |
| 2.6 | Vendor Supplied Cabling |  |
| 2.7 | Tx Fail Mode |  |
| 2.8 | Correct Orientation for flow direction |  |
|  | Vendor Parameter Sheet Must be Attached and Program Variables Completed |
| CHECK NO. | CALIBRATION |
| 3 | Record the Following Information: |
| 3.1 | Test Method |  |
| 3.2 | Parameters |  |

| REMARKS: |
| --- |
| PUNCH LIST CATEGORY |
| A |  | B |  | C |  |
|  | COMPANY | NAME | SIGNATURE | DATE |
| COMPLETED BY |  |  |  |  |
| SUPERVISOR |  |  |  |  |
| APPROVED BY |  |  |  |  |