|  | PIPING INSTALLATION CHECKLIST |
| --- | --- |

| Phase: |  | Area: |  | Date: |  |
| --- | --- | --- | --- | --- | --- |
| Test Pack No: |  | Job Card No: |  |
| System Description: |  |
| Item No | Item Description | Signed Symmetrical Supervisor | Signed by Client Rep |
| Pre – Testing |
| 1 | Installed to P & ID |  |  |
| 2 | Materials correct |  |  |
| 3 | Supports / Guides / Anchors correct |  |  |
| 4 | Spring hangers / blocked / removed |  |  |
| 5 | Temporary supports installed |  |  |
| 6 | Checked for external damage |  |  |
| 7 | NDT complete and satisfactory |  |  |
| 8 | PWHT complete and satisfactory |  |  |
| 9 | Control valves removed |  |  |
| 10 | Check valves / internals removed (refer to register) |  |  |
| 11 | Expansion joints removed and / or restrained |  |  |
| 12 | Orifice Plates removed Yes / No |  |  |
| 13 | Instrument process piping disconnected |  |  |
| 14 | Pre-testing flushing |  |  |
| 15 | In line strainers installed (refer to register) |  |  |
| 16 | Blanks and spades installed |  |  |
| 17 | Vents open for filling |  |  |
| 18 | Test Medium |  |  |
| Post-Testing |
| 19 | Test satisfactory completed |  |  |
| 20 | Flushing satisfactory complete |  |  |
| 21 | In line strainers reinstated (refer to register) |  |  |
| 22 | Test blanks and spades removed |  |  |
| 23 | Temporary supports removed |  |  |
| 24 | Expansion joint restraints removed, joints installed |  |  |
| 25 | Control Valves installed |  |  |
| 26 | Check valves / internals reinstated (refer to register) |  |  |
| 27 | Orifice plates installed |  |  |
| 28 | Spring hangers unblocked and set and / or installed |  |  |
| 29 | Replacement gaskets installed |  |  |
| 30 | Vent / Drain couplings plugged / welded |  |  |
| 31 | Instrument process piping reconnected |  |  |
| 32 | Instruments installed |  |  |
| 33 | Steam tracing installed |  |  |
| 34 | Insulation complete |  |  |
| 35 | Painting and or identification complete |  |  |
| 36 | Reinstated to P & ID |  |  |
| Comments |