WORKSITE INSPECTION CHECKLIST

| LOCATION: |  | DATE INSPECTED: |  |
| --- | --- | --- | --- |
| CONDUCTED BY: |  | SIGNATURE: |  |

RESULTS

| AREA | NUMBER APPLICABLE ITEMS | NUMBER MARKED YES |
| --- | --- | --- |
| GENERAL |  |  |
| PPE TRADES AND TA GENERAL |  |  |
| PPE TRADES AND TA SPECIFIC |  |  |
| ELECTRICAL |  |  |
| FIRE |  |  |
| FIRST AID |  |  |
| WELDING/CUTTING |  |  |
| SCAFFOLDING |  |  |
| CRANE/RIGGING WORK |  |  |
| WORKING AT HEIGHT |  |  |
| TOTAL | A = | B = |

| SCORE = | B |  |  | 100% = |  | % |
| --- | --- | --- | --- | --- | --- | --- |
|  | A |  |  |  |  |  |

GENERAL COMMENTS

|  | NA/Y/N | IMMEDIATE ACTION | FOLLOW UP HAZ REP # |
| --- | --- | --- | --- |
| GENERAL |  |  |  |
| 1. Check tag/lock out system is in use and effective (where applicable). |  |  |  |
| 2. Check there is adequate drinking water on site. |  |  |  |
| 3. Check angle grinders are being used with the correct disc (cut off or grind). |  |  |  |
| 4. Check disc changing tools are at hand. |  |  |  |
| 5. Check only flint lighters are being used with gas cutting equipment. |  |  |  |
| 6. Check unsafe areas bunted off/barricaded. |  |  |  |
| 7. Check clips are used in air hose couplings and tools. |  |  |  |
| 8. Check for flammable liquids (paint/thinners) left around the site. |  |  |  |
| 9. Check static line system anchorages. |  |  |  |
| 10. Check ladder usage:- (i) tied off |  |  |  |
| (ii) 1m above step off |  |  |  |
| (iii) correct angle (1:4) |  |  |  |
| (iv) condition of ladder(feet, lock devices, damage). |  |  |  |
| 11. Check excavations for access, stability, bunting, shoring. |  |  |  |
| 12. Check excavation permit in place (where applicable). |  |  |  |
| 13. Check that MSDS are available |  |  |  |
| 14. Mechanical lifting equipment is used wherever feasible |  |  |  |
| ( Acceptable ( Not Acceptable |  |  |  |
| Comments |  |  |  |
|  | APPLICABLE ITEMS |  |
|  | ITEMS: Immediate action |  |
|  | NA/Y/N | IMMEDIATE ACTION | FOLLOW UP HAZ REP # |
| PPE – TRADESPERSONS & TA’s GENERAL |  |  |  |
| 1. Hard hats (no stickers). |  |  |  |
| 2. Eye protection suitable for the task being undertaken. |  |  |  |
| 3. Hearing protection (appropriate to task). |  |  |  |
| 4. Long sleeved cotton shirt. |  |  |  |
| 5. Cotton work trousers (no cuff). |  |  |  |
| 6. Safety boots (laced fully, and in good condition). |  |  |  |
| 7. Gloves (where applicable) to suit task being undertaken. |  |  |  |
| ( Acceptable ( Not Acceptable |  |  |  |
| Comments |  |  |  |
|  | APPLICABLE ITEMS |  |
|  | ITEMS: Immediate action |  |
|  | NA/Y/N | IMMEDIATE ACTION | FOLLOW UP HAZ REP # |
| PPE - TRADESPERSONS & TA’s SPECIFIC TASKS |  |  |  |
| 1. Confined Spaces |  |  |  |
| PPE as per site requirements or as per Apache standard. |  |  |  |
| Entry permit in place, supplied air respirator, forced air ventilation, safety lines, watchmen, communications. |  |  |  |
| 2. Riggers:- (i) Lanyards applicable to task |  |  |  |
| 3. Welders:- (i) Full length gauntlets |  |  |  |
| (ii) Leather welding jackets. |  |  |  |
| 4. Docking Saws & Pedestal Drills |  |  |  |
| Full face shield immediately adjacent to the machine for use by any operator. |  |  |  |
| 5. Check that JSA's / JHA's are used where applicable |  |  |  |
| ( Acceptable ( Not Acceptable |  |  |  |
| Comments |  |  |  |
|  | APPLICABLE ITEMS |  |
|  | ITEMS: Immediate action |  |

|  | NA/Y/N | IMMEDIATE ACTION | FOLLOW UP HAZ REP # |
| --- | --- | --- | --- |
| ELECTRICAL |  |  |  |
| 1. All items of portable equipment have correct inspection tags |  |  |  |
| 2. Extension cords have correct inspection tags |  |  |  |
| 3. Extension cords are elevated where necessary. |  |  |  |
| 4. Portable ELCB’s have correct inspection tags. |  |  |  |
| 5. Temporary switchboards are equipped with ELCB’s/ RCB’s (check last test date). |  |  |  |
| ( Acceptable ( Not Acceptable |  |  |  |
| Comments |  |  |  |
|  | APPLICABLE ITEMS |  |
|  | ITEMS: Immediate action |  |
|  | NA/Y/N | IMMEDIATE ACTION | FOLLOW UP HAZ REP # |
| FIRE |  |  |  |
| 1. Portable fire extinguishers are charged and have current inspection tag. |  |  |  |
| 2. Are applicable to the area (type of fire). |  |  |  |
| 3. Check extinguishers on mobile plant. |  |  |  |
| 4. Check the correct local fire authority phone number is displayed by telephones. |  |  |  |
| 5. Extinguishers to be located:- (i) near mobile welders |  |  |  |
| (ii) near hot worksites |  |  |  |
| (iii) near spray painting activities |  |  |  |
| ( Acceptable ( Not Acceptable |  |  |  |
| Comments | APPLICABLE ITEMS |  |
|  | ITEMS: Immediate action |  |
|  | NA/Y/N | IMMEDIATE ACTION | FOLLOW UP HAZ REP # |
| FIRST AID |  |  |  |
| 1. First aid kit in the:- Store |  |  |  |
| Crib room |  |  |  |
| Vehicle used for remote jobs |  |  |  |
| Re-stocking procedure operating |  |  |  |
| 2. Appropriate signage. |  |  |  |
| 3. Names of current First Aid Certificate holders displayed. |  |  |  |
| 4. Correct emergency local phone number displayed near phones. |  |  |  |
| 5. First aid treatments recorded in a log book. |  |  |  |
| ( Acceptable ( Not Acceptable |  |  |  |
| Comments | APPLICABLE ITEMS |  |
|  | ITEMS: Immediate action |  |
|  | NA/Y/N | IMMEDIATE ACTION | FOLLOW UP HAZ REP # |
| WELDING/CUTTING |  |  |  |
| 1. Check serviceability of welding cables and handpieces. |  |  |  |
| 2. Check serviceability of oxy/acet hoses and handpieces (flash back arrestors). |  |  |  |
| 3. Check serviceability of oxy/acet carts (tyres, cylinder retaining clamps and lifting lugs). |  |  |  |
| 4. Check portable welder refuelling arrangements (full and empty fuel cans in work areas). |  |  |  |
| 5. Portable welder locations (noise). |  |  |  |
| 6. Check hot work permit is in place (where applicable) |  |  |  |
| ( Acceptable ( Not Acceptable |  |  |  |
| Comments | APPLICABLE ITEMS |  |
|  | ITEMS: Immediate action |  |

|  | NA/Y/N | IMMEDIATE ACTION | FOLLOW UP HAZ REP # |
| --- | --- | --- | --- |
| FIXED ERECTED SCAFFOLD |  |  |  |
| 1. Is the scafftag in place correctly filled out by the competent person that inspected the scaffold. |  |  |  |
| 2. From the scafftag, determine if the structure is Light Duty 2.2kN length or width not less than 450mm Medium Duty 4.4kN length or width not less than 900mm Heavy Duty 6.6kN length or width not less than 1,000mm |  |  |  |
| 3. Are all base-plates firmly supported? |  |  |  |
| 4. Check all standards are vertical. |  |  |  |
| 5. Check ties and putlog’s for security. |  |  |  |
| 6. Check that bracing has been fitted longitudinally and transversely. |  |  |  |
| 7. Check that access ladders are in good condition (no damaged rungs or stiles). |  |  |  |
| 8. Check access ladders are arranged at an angle of one in four (1:4). |  |  |  |
| 9. Check assess ladders are tied-off and protrude above the step off point by a minimum of 900mm. |  |  |  |
| 10. Check toe boards (kick boards) are in place and secure. |  |  |  |
| 11. Check guard rails and hand rails are in place and secure. |  |  |  |
| 12. Where mesh screens are used, check they are used in conjunction with toe boards and they extend not less than 900mm vertical from the platform. Top edge of mesh is to be protected. |  |  |  |
| 13. Suitable signage is in place to warn personnel of men working above. |  |  |  |
| 14. Check decking is not capable of uplift under working conditions (planks 3m or less are to be secured). |  |  |  |
| ( Acceptable ( Not Acceptable |  |  |  |
| Comments | APPLICABLE ITEMS |  |
|  | ITEMS: Immediate action |  |
|  | NA/Y/N | IMMEDIATE ACTION | FOLLOW UP HAZ REP # |
| CRANE/RIGGING WORK |  |  |  |
| 1. Dogmen have correct certification, eg DG. |  |  |  |
| 2. Crane drivers hold appropriate certification, eg CN |  |  |  |
| 3. Lifts are performed in a safe manner.(ie not to lift loads over personnel) |  |  |  |
| 4. Pick and carry is performed in a safe manner. |  |  |  |
| 5. Tag lines are 16mm fibre rope. |  |  |  |
| 6. Crane drivers have separate radio channel for communication. |  |  |  |
| ( Acceptable ( Not Acceptable |  |  |  |
| Comments | APPLICABLE ITEMS |  |
|  | ITEMS: Immediate action |  |
|  | NA/Y/N | IMMEDIATE ACTION | FOLLOW UP HAZ REP # |
| WORKING AT HEIGHT |  |  |  |
| 1. Fall arrest system is used (harness/inertia reel /lanyard/shock absorber). |  |  |  |
| 2. Air lines, welding leads and oxy/acet hoses are placed to avoid creating tripping hazards. |  |  |  |
| 3. Inertia reel is connected to the anchorage point and not onto the safety harness. |  |  |  |
| Fall arrest equipment inspected (by a competent person) and logged into the Equipment registers. |  |  |  |
| 5. Personnel using correct anchorage point. |  |  |  |
| 6. Personnel hooked onto anchorage point shoulder height or above. |  |  |  |
| ( Acceptable ( Not Acceptable |  |  |
| Comments | APPLICABLE ITEMS |  |
|  | TEMS: Immediate action |  |

# Text boxes

X