|  | Permit to Work – Hot Work | Form No.: F-S-08 |
| --- | --- | --- |
|  | Issue: 1.0 | Rev: A | Date: |

Permit No.:	Issue Date:

Permit No.:	Issue Date:

Issued To:	Company:

Issued To:	Company:

Department:     _________________________ Supervisor:   ________________________

Department:     _________________________ Supervisor:   ________________________

Provide details of the hot work and the area in which it is to be performed below:

| Approved Equipment : (TICK BOX IF APPROVED) |
| --- |
| q Oxy Welder q Electron Welder q Argon Arc Welder q Plasma Cutter q Soldering Irons, Flame q Soldering Irons, electric | q High Speed Grinder q Explosive Powered Tools q Explosives q Approved Flame Making Equipment q Other - please specify |
| Restrictions on Hot Work : |  |
| Fire Precautions (TICK WHEN COMPLETED) q Thermal fire detectors Isolated q Fire Brigade advised q Explosion proof electrical equipment q Fire blankets q Danger area demarcated q Drains/sewers within 25m sealed | q Smoke detectors isolated q Insurance officer advised q Local electricity circuits isolated q Earthing against static electricity q Mechanical ventilation q Others - Specify |
| Atmospheric Tests: Reading taken by: Job Title: Signed | Explosimeter Reading: Gas Detector Reading: Date/Time: |

Statement by Recipient:

I have read, understand and accept the conditions of this Permit. Signature: Date: Time:

(Recipient)

Authorisation: VALID UNTIL:

This is to certify that I have inspected the equipment and area and it is in a safe condition for the hot work to be carried out provided the above restrictions are fully observed. Signature: Date: Time:

(Authorising Officer) Position: Department:

Cancellation of Hot Work Permit:

The work that is the subject of this permit is completed and the area is safe. Signature: Date: Time:

(Authorising Officer)

|  | Standard Operating Procedure Permit To Work – Hot Work | Form No.: SOP 424 – F1 |
| --- | --- | --- |

Instructions for the Hot Work Permit:

1.	Ensure that the area is clean prior to commencing work. This should include a check for combustible substances such as oil or grease deposits.

2.	Ensure that earth lead of the welding equipment is attached to the equipment being welded.

3.	Note the location of the fire extinguishers in the area. Check the service tag and gauge on the extinguisher.

4.	Place a fire extinguisher beside the job to be performed. Make sure the operation of the fire extinguisher is understood.

5.	An observer if required is to be present at all times.

6.	Follow all emergency procedures.

7.	Upon completing the task(s) conduct an inspection to make sure no fire potential exists.

8.	The Permit to Work is only valid for the location and period indicated and is to be returned to the Authorising Officer upon the completion of the work.